SECTION 089700

Structural Glass WallS

PART 1:  GENERAL

1.1	SUMMARY

A.	Section Includes:  Glass, glazing and connections for the all glass facade in accordance with the Contract Documents.

B.	Related Sections:

Section 055000 – Miscellaneous Steel

Section 079000 – Sealants:  Sealants for glazing

Section 088000 – Glass and Glazing

C.   Substitutions:  Manufacturer:

1.  The following specifications and related drawings are based on the

performance of the Pilkington Planar System as a standard of quality. Other manufacturers listed below will be accepted if and only if they comply in all respects with the drawings and profiles shown, as well as all elements of the specifications contained herein. Manufacturer must have a minimum of five years experience in the U.S./Canada in tall structural glass projects and must submit a minimum of ten other projects completed in the U.S. within the last five years similar to the scope of this project.

2.   The substitution request must be submitted no less than 15 days prior to bid

with all testing and performance criteria to demonstrate compliance with  specifications for Architect review. Requests submitted after this time will not be accepted.

3.   Other acceptable manufacturers (provided they comply with all aspects of the

drawings and specifications) are:

a.   Seele

b.   Gartner

1.2	QUALITY ASSURANCE

A.	Sole Source Responsibility:  Glazing Material and System Design:  Glass, glazing, system design and accessories are the sole responsibility of Pilkington Architectural.

B.	Sole Source Responsibility:  Provide installation by installer acceptable to Pilkington Architectural.  Provide a letter signed by representative of Pilkington Architectural with company's authorization stating that installer is acceptable and qualified to install system.

1.	The installer of the Pilkington Planar System is responsible for supplying and 	erecting the complete structural glazing system, coordinating and maintaining 	tolerances between structure and glazing system with individual suppliers and 	manufacturers, and installation of glazing system.

C.	Where safety glass is indicated or required by authorities having jurisdiction, provide type of products which comply with ANSI Z97.1 and testing requirements of 16 CFR, Part 1201 for category II materials.

1.3	SYSTEM DESCRIPTION

A.	Design Requirements: Per ASCE-7:

1.	Wind Load (Typical): to be filled in by architect ; Wind Load (Corner): to be filled in by architect

2.    Seismic: Wall to accommodate no more than .002H. (To be modified after further consultation with W&W Glass for design review if any higher.)

3. 	Live load deflection of supporting structure if any: to be no more than 0.25”. (To be modified after further consultation with W&W Glass for design review if any higher.)

B.	Pilkington Planar Glazing System:

1.	Fittings are designed to give flush appearance to outward surface of glazing system.  NO EXTERIOR FITTINGS OR PLATES WILL BE PERMITTED.

2.	The design of the Planar fittings is the sole responsibility of Pilkington Architectural

3.	Spring plate members are designed to prevent high stress concentration at the hole positions and must cope with:

a.  	Negative and positive wind loading

b.	Seismic loads

c.  	Thermal movement

d.  	Construction tolerances

e.  	Live load and dead load movements

4.	Movement diaphragms of stainless steel and durable flexible discs must be incorporated in connections to accommodate oversize holes in spring plate members, which allow for thermal movement and glass manufacturing tolerances.

5.	The system shall provide for unitized pre-fixing of all items to glass prior to erection.

1.4 	SUBMITTALS

A.	Submit the following in accordance with Section: to be filled in by architect.

1.	Shop Drawings:  Shop drawings shall clearly indicate materials and methods, indicate coordination with other trades, and bear signed approval of the glazing system manufacturer and the glazing system installer, as well as the stamp of a licensed Professional Engineer in the State of to be filled in by architect.

2.	Product Data:  Material description and installation instructions for tapes, compounds, gaskets and other materials.

3.	Samples:

a.	Submit one sample of glass and glazing materials required for the Project.  	Samples of glass shall be 12" x 12", samples of sealant or gasket shall 	be 12" long.

b.	Submit samples of hardware complete with glass, bolt and accessories.

4.	Quality Assurance Compliance:  Submit letters from Pilkington’s authorized representative and from the project installer stating that they are in compliance with the requirements of the Contract Documents.

5.	Calculations:  Submit calculations proving structural glazing systems performance and compliance with specified loads with stamp of licensed Professional Engineer registered in the State of to be filled in by architect.

6.	Test Reports:  Submit test reports from an independent laboratory certifying that the structural glazing system proposed for use has been tested.  The system tested must be similar in type of materials and design shown on Architect's drawings, utilizing countersunk bolted attachments through the glass.  If existing test reports are to be submitted, then those tests shall have been carried out to loads at least equal to or greater than those called for in this specification. If test reports are not available, system shall be tested. All costs for testing will be born by the glass system manufacturer.  No system shall be accepted that has not been tested.

7.	Letter signed by the glass manufacturer clearly stating the glass and fittings to be used on the project of the manufacturer’s system are acceptable to the manufacturer and that they have reviewed the contract documents and will issue a project specific twelve (12) year warranty to include the entire system.  Letters signed by the subcontractor for this section are not acceptable.  System must be manufactured from one source. Glass cannot be supplied by one manufacturer and hardware from another to comply with this warranty.

1.5	WARRANTIES

A.	Manufacturer Warranty:  Comprehensive system warranty must be issued by the Pilkington Planar/manufacturer for a period of twelve (12) years for design integrity, weatherability and durability of the system.  Partial warranties for the glass or fittings only issued by anyone other than the glass system manufacturer will not be acceptable.

B.	Installer Warranty:  Warrant the installation for a period of five years for installation and repairs of failures.  Provide written requirements for notification of installer and terms for maintaining warranty provisions.  Do not contradict the requirements of the Contract Documents.

C.	The Warranties submitted under this Section shall not deprive the Owner of other rights or remedies that the Owner may have under other provisions of the Contract Documents and the laws of governing jurisdictions and is in addition to and runs concurrently with other warranties made by the Contractor under requirements of the Contract Documents.

PART 2:  PRODUCTS

2.1	MATERIALS

A.	Structural Glass Wall System:  The drawings and specifications herein are based on The Pilkington PLANAR system distributed by: W&W Glass, LLC, 302 Airport Executive Park, Nanuet, NY  10954. Contact: W&W Glass, LLC; E-mail: ww@wwglass.com; Phone: 1-800-452-7925; wwglass.com.

B.	Glass:

1.    Glass Make-ups:

- Exterior Face Glass – Glass thickness to be filled in by architect after consultation with W&W Glass, LLC on the specific application.

2.  Glass must be tempered to a minimum compressive strength of 16,000 PSI.

Glass tempered to lower strengths will not be accepted.

3.	Statistical heat soaking of tempered glass will not be acceptable.  All tempered glass must be heat soak tested to help lower the probability of spontaneous breakage due to nickel sulphide inclusions.  The heat soak test is a destructive test. It converts nickel sulfide inclusions from alpha phase to beta phase so that the glass will fracture in test chamber if present in certain layers of glass. Heat soak testing must comply with European DIN Standard 18516-4 and must be a minimum 15 hour cycle at a temperature of 290C.  Written warranties against nickel sulfide inclusions in lieu of heat soaking will not be accepted.

4.	All glass must be horizontally tempered eliminating tong marks.

5.	All edges will be ground flat with a frosted appearance unless otherwise noted.

6.	All edgework, holes and notches in the tempered glass panels will be completed before tempering and shall comply with the following requirements:

- Dimensional tolerance on panel size will be ± 1 mm of the theoretical

dimension required for dimensions under 2 meters and 2 mm for

dimensions greater than 2 meters.

b.	Squareness of each panel will be within 3 mm.

c.	Bow allowance is 0.1%.

d.	The positional tolerances on all holes will be ± 1 mm from a single datum point.

7.	Dimensional tolerance on each panel size making up the laminated Planar unit will be as for the single Planar specification indicated below:

For thinner glasses these tolerances will vary.

Flat Glass

Thickness:	10,12 mm	(0.3 mm

15 mm	(0.5 mm

19 mm	(1.0 mm

Diagonal Tolerances

Up to 4 m	3 mm		Maximum difference

Over 4 m	4 mm		Maximum difference

The laminating process introduces a positional tolerance for one plate relative to the other.  The overall tolerance will therefore be 0 to +4 mm.

Flat Shape Capability - Simple Shapes

All tolerances will vary depending on complexity of shape.

- Flatness of glass is a key element of this specification.  Average

rollerwave distortion must be certified not to exceed an average of 0.02mm

for uncoated tempered glass or 0.05mm for low-e coated tempered glass

per linear meter with maximum sag at the leading and trailing edge of 0.25

mm.  A site inspection, if required for roller wave and bow tolerances,

should be from a minimum distance of 3 meters.

- All glass must be manufactured in a factory where the quality control procedures are created under the terms of ISO 9000 and are independently monitored.

- Pre-stress glass around holes to a level which is compatible with the design and sue of the fittings. Check by differential surface refractometer on stress level.

C.	Fittings:

1.	Planar fittings shall be predominantly manufactured from stainless steel Grade 316.  Standard fittings will be Planar Type 905 type with flush countersunk bolt. (Fittings to be chosen by architect after consultation with W&W Glass, LLC on the specific application.)

2.	The subcontractor shall demonstrate to the Architect's satisfaction that the stresses induced in the glass by these fittings are compatible with the strength of the glass and the needs of the performance section of this specification.

3.	The finish of all fittings will be “as machined”.

4.	Spring plates shall be designed to the Architect's specification.  The design shall be shown by the Subcontractor to be compatible with the performance specification in all respects.

4.1	Spring plates shall provide a tolerance capability which will cope with the full range of movements shown below:

a.	Thermal movements occurring as a result of differential coefficients of thermal expansion within the range specified.  The components used within the system shall withstand noiselessly all thermal movements without any buckling, distortion, cracking, failure of joint seals or undue stress on the glass or fixing assemblies.

b.	Deflection of edge beams due to loading applied after erection of the 	cladding to magnitude specified.

c.	Maximum side sway of structure due to wind load to the magnitude 	specified or seismic movement to the degree specified.

d.	Deflection due to self-weight of the Planar system.

e.	Inward and outward movements due to the design wind loads 	specified.

5.	Countersunk Planar bolts will be bright machine finished, socket head bolt diameter 1-1/8" with hexagonal shank, stainless steel Type 316.

5.1	No exterior plates, caps, disks or buttons will be permitted.

6.	Bushings will be Nylatron Polyamide.

7.	Gaskets will be fully vulcanized fiber, neoprene or precured silicone.

8.   Perimeter channels to be ¼” x 2” x 4” clear anodized aluminum extrusion. (Perimeters to be clad in .060” thick type 304 stainless steel with #4 directional finish where exposed, if required by architect.)

9.	Steel gussets to supplied and engineered by others per section Section 055000.

Gusset hole locations to be installed within +/- 1/8” of actual location per Pilkington Planar shop drawing requirements for system installation.  (Gusset materials and finishes to be chosen by architect after consultation with W&W Glass, LLC on the specific application.)

PART 3:  EXECUTION

3.1	EXAMINATION

A.	Examine surfaces receiving the Work.  Verify dimensions of in-place and subsequent construction.  Follow the recommendations of the FGMA as to inspection procedures.  Do not begin work until unsatisfactory conditions have been corrected.  Installation of work shall constitute acceptance of the related construction.

3.2	PREPARATION:

A.	Pre-Installation Meeting:  Meet at the project site with the representatives of the glass and glazing materials manufacturers, architectural exposed structural steel fabricator and erector, sealant manufacturer, the glazing installer, Architect's representative and Owner's representative.  Review the glazing procedure and schedule, including the method of delivering and handling glass, and installing glazing materials.  The chemical compatibility of all glazing materials and framing sealants with each other and with like materials used in glass fabrication shall be established.

3.3	INSTALLATION OF GLASS:

A.	Install in accordance with Pilkington Architectural’s requirements and the shop drawings.

B.	Employ only experienced glaziers who have had previous experience with the materials and systems being applied.  Use tools and equipment recommended by the glass manufacturer.

C.	Plate to plate joints of glass are sealed with silicone sealant.  Joint dimensions shall be designed to be compatible with sealant properties and live load movement of the structure.

- Bolt Torque:  Torque bolts to torques specified on shop drawings using calibrated tool.  Lock torqued bolts into position to prevent backoff.  Reset calibrations regularly to ensure accurate torquing.

E.	Maintain a minimum temperature of 40 degrees F. during glazing unless the manufacturer of the glazing material specifically agrees to application of this material at lower temperature.  If job progresses or other conditions require glazing work when temperature is below 40 degrees F. (or below the minimum temperature recommended by the manufacturer), consult the manufacturer and establish the minimum provisions required to ensure satisfactory work.

F.	Clean glazing connectors receiving glazing materials of deleterious substances which might impair the work. Remove protective coatings which might fail in adhesion or interfere with bond of sealants.  Comply with manufacturer's instructions for final wiping of surfaces immediately before application of primer and glazing sealants.  Wipe metal surfaces with xylol or toluol.

G.	Inspect each unit of glass immediately before installation.  Glass which has significant impact damage at edges, scratches or abrasion of faces, or any other evidence of damage shall not be installed.

H.	Sealants:  Prime surfaces to receive glazing sealants where required, in accordance with manufacturer's recommendations, using recommended primers.

I.	Locate setting blocks, if required by the drawings, at the quarter points of sill, but no closer than 6 inches to corners of glass.  Use blocks of proper sizes to support the glass in accordance with manufacturer's recommendations.

J.	Provide spacers to separate glass from spring plates.

K.	Set glass in a manner which produces greatest possible degree of uniformity in appearance.  Face all glass, which has dissimilar faces, with matching faces in the same direction.

L.	Use masking tape or other suitable protection to limit coverage of glazing materials to the surfaces intended for sealants.

M.	Tool exposed surfaces of glazing materials.

N.	Clean excess sealant from glass and support members immediately after application, using solvents or cleaners recommended by manufacturers.

3.4	CURING, PROTECTION, AND CLEANING

A.	Cure sealants in accordance with the manufacturer's instructions to attain maximum durability and adhesion to glass.

B.	Clean all surfaces after installation, leaving all in a clean and workmanlike manner.

C.	Final cleaning and protection after installation is the responsibility of others.